## Cover
NATIONAL SMART GRID MISSION (NSGM)
State
Utility
Project Area
Detailed Project Report for Smart Grid Project
Ref. No.
Submitted to
Date of Submission

## Annexure
List of Annexures
1 | SLPMU/DRC Approval
2 | Project implementation plan post sanction alongwith PERT chart etc.
3 | IT architecture diagram
4 | Regulatory plan/proposal/sanction for investment/real time pricing mechanism etc.
5 | SG project team details alongwith contact Nos/emails
6 | Plan for funding utility share of project
Note: Relevant documents to be attached by the utility

## Guidelines
General Guidelines
1 | Utility has to create an Smart Grid Cell comprising of team of IT/AMI/SCADA/DMS /Renewable experts having relevant qualifications, experience and background in the field of system integration and Smart Metering and Smart Grid implementation. This team shall be involved from concept to commissioning of the system and shall also be the Nodal Department/Group from the Utility for all issues related to implementation of the project
2 | Utility to undertake necessary Business Process Reengineering initiatives including as suggested by SGIA for proper implementation of the programme and to make the business processes Smart Grid worthy
3 | Utility has to ensure timely availability of infrastructure facilities that are essential for implementation of Smart Grid Functionalities and are not in the scope of SMART Grid Implementing Agency’s (SGIA) viz. Smart Grid Control Center Civil Works etc.
4 | Utilities to follow the CEA / BIS / NSGM standard guidelines for the Smart Grid Infrastructure. Any deviation shall require the due approval from the NSGM
5 | There shall be one Smart Grid Control Center in a Utility. In case Utility proposes to setup more than one Smart Grid Control Center it has to justify its case
6 | The cost estimates should not include any departmental overhead expenses. All such expenditures should be borne by the utility
7 | Utility will ensure ring-fencing of the proposed Project Area (Town) through metering of all import/export metering points and segregation of agriculture feeders within 16 weeks of the sanction of DPR
8 | Utility shall provide all possible support to MoP/ Nodal Agency (NSGM) and their representatives for successful implementation of the projects
9 | Scope variation on account of increase of consumer base during the currency of contract or any other reason would be to Utility’s account and the contract will include the clause for qty variation. Incremental quantities to be borne by the utility and any incremental quantity between date of sanction and award should be informed to NSGM with justification
10 | If SCADA/DMS exists in the Project Area, Utility shall ensure availability of necessary interface/implementation profile for integration of SCADA/DMS with new system. Also, Utility shall define the extent of integration required at the time of NIT. Utility shall ensure that all necessary protocols and other details are provided to SGIA as per requirement. Utility needs to submit the SCADA/DMS Project Completion Certificate with this DPR
11 | Projects with consumer base of less than 2 lakhs are to be implemented within 18 months and projects which are having consumer base between 2 to 10 lakhs are to be implemented in 24 months. Utility to submit a detailed project plan with the DPR. Start date will be from the date of approval of DPR from the NSGM
12 | In case the selected project area is not covered under R-APDRP (Part-A) Scheme for SCADA/DMS or IT Baseline Infrastructure, then same infrastructure can be proposed in this DPR so as to have baseline system in place with Smart Grid Functionalities
13 | Utility shall collect all necessary protocols as well as points of integration APIs in new system from SGIA which may be passed on to SCADA /DMS implementation agency in future for integrating the same with the proposed system
14 | Implementation of project shall be in accordance with the NSGM Guidelines

## Introduction
Smart Grid - Introduction and Objective
Electricity plays vital role in both day to day life of people and the economic development of a nation. To ensure sustainable supply of electricity and energy security, the efficient management of the electricity distribution network through use of intelligent devices which can monitor and control power flows in real time, has become necessary. In order to bring efficiency and sustainability in the electricity distribution sector, introduction of Smart Grid technologies is envisaged under the recently launched National Smart Grid Mission (NSGM) by Ministry of Power (MoP), Government of India (GoI). Global energy scenario is witnessing key changes in terms of shift of focus towards green energy and sustainable growth and Smart Grid is getting evolved by integrating end-to-end, advanced communications infrastructure and information systems into the electric power system. Objective of Smart Grid is to use advancements of information and communication technology to make the power grid more efficient, reliable, secure and resilient while minimizing costly investments in new centralized generation capacity. One of the main points about Smart Grid is an increased level of observation and control of a complex power system to facilitate distributed and renewable energy generation. This can only be achieved by an increased level of information sharing between the individual components and sub-systems of the power system. The Smart Grid is integrating the electrical and information, communication technologies in the complete power system value chain enabling every point for generation and every point as controllable consumption. “Smart Grid” with reference to distribution system is the next generation system that delivers electricity to consumers using two way digital technologies to enable efficient management of consumers’ end use of electricity as well as efficient use of the grid to identify and correct supply-demand imbalances instantaneously. It also detects faults in a “self–healing” process that improves service quality, enhances reliability and reduces costs. The “Smart Grid” encompasses a broad set of applications, including software, hardware and intelligent technologies including communication that enable utilities to integrate, interface with intelligently control & automation innovations. In a Smart Grid, all the various nodes are interconnected to share data as and where needed. It provides choices to each and every customer for deciding the timing and amount of power consumption based upon the price of power at a particular instant, apart from providing choices to the consumer and motivating them to participate in the operation of the grid, ensuring energy efficiency and accommodating all renewable generation and storage options. The Smart Grid technologies help in maximizing system uptime, while also helping the utility to restore power supply more quickly to the customers in the event of an outage. The overall objective of the Smart Grid project is to ensure 24x7 stable supply of electricity to all customers in the selected project area, reduce AT&C losses and equipment failure rate; and increase the billing and collection efficiency through various smart grid functionalities envisaged in the project. Smart Grid technologies like SCADA/DMS, Distribution Automation, Advanced Metering Infrastructure (AMI), GIS, Street Light Automation System and Peak Load Management (PLM) etc. would provide granular insight and control for individual customers and improve the power quality. That insight coupled with continuous process realignment helps improve performance of distribution system, enhance power supply reliability and quality as well as customer satisfaction.
Smart Grid initiative focuses on reducing the collection loss and reduces the cost of power to the utility through peak load management and higher energy savings. Above mentioned initiatives shall bring down technical as well as non-technical losses in the system.
The main objectives of the proposed smart grid project are to leverage of the Smart Grid technologies which would improve the performance of the distribution system of Project Areas as well as empower customers to participate in energy management process and to achieve improvement in energy efficiency. The main objectives are: 1. AT&C Loss Reduction 2. Provide 24x7 reliable power to all customers 3. Make Project Area free from DG sets 4. Reduce the equipment failure rate 5. Improve the restoration time in case of power failure 6. Defferred Capex - Optimization of asset utilization and operating efficiency of the electric power system 7. Improve billing and collection efficiency 8. Increase customer satisfaction – educate and engage them for better tomorrow 9. Facilitating Distributed Generation Integration - Roof Top solar 10. Enabling integration of EVs and their Charging infrastructure 11. Integration of Street Light Automation system

## Declaration
Utility Declaration
1 | The proposed DPR includes only new works and excludes other works under implementation
2 | The cost estimates do not include any departmental overhead expenses
3 | Detailed information regarding protocols, type, make, memory map etc. of system meters, which will be needed to integrate energy accounting/ auditing solutions, shall be made available to the System Integrator within four weeks of award of contract.
4 | If SCADA/DMS exists in the Project Area, Utility shall ensure availability of necessary interface points for integration of SCADA/DMS with new system. Also, Utility shall define the extent of integration required at the time of NIT
5 | Utility will ensure ring-fencing of the proposed Project Area through metering of all import/export metering points within 16 weeks of the sanction of DPR
6 | Following items have been excluded from the scope of the DPR. Utility /SGIA shall arrange the same from their own resources: - Land, data centre & customer care centre & various server rooms and other civil & structural works including earthing infrastructures such as air conditioning system - External & internal electrification & lighting - Fire fighting system - Any mobile equipment such as crane, truck, jeep, filter m/c etc. - Any T&P, testing equipments etc. - Office furniture, computer and software for use in office except for the computers required for business process software - Any contract for IT / outsourcing of services of revenue expenditure type where there is no capital addition - Communication equipments such as mobile phone, telephone etc. other than those specified in SRS - Manpower for managing collection centres, data centre & customer care centres
7 | Smart Grid Cell/Group has been formed at utility level, which shall be involved from concept to commissioning of the system and co-ordinate from the Utility side for all issues related to implementation of the project
8 | The details of the authorised signatory & Nodal officer are given below
9 | Approved by:
10 | Designation
11 | Signature of Nodal Officer for Smart Grid project

## Utility_Profile
Complete Utility Profile
Basic Information
Sl. No. | Particulars | Unit | Value
1 | Name of the Utility | Name
2 | Date of Incorporation | Date
3 | Head/Corporate Office | Address
4 | Area of Coverage | Sq. Kms.
5 | Total Population (as per 2011 census) | Nos.
6 | Nodal Officer Details | Name
Desig.
Mobile
E-mail
Phone
7 | No. of Level-1 Offices (Zones) | Nos.
8 | No. of Level-2 Offices (Circles) | Nos.
9 | No. of Level-3 Offices (Divisions) | Nos.
10 | No. of Level-4 Offices (Sub-Divisions) | Nos.
Asset Information
Sl. No. | Particulars |  | Unit | Value
1 | Total Number of EHV S/s Feeding Utility |  | Nos.
2 | Total Number of Power Transformers |  | Nos.
3 | Total Capacity of Power Transformers |  | MW
4 | Total Number of 66/33 kV Feeders |  | Nos.
5 | Total Length of 66/33 kV Feeders (Overhead) |  | Kms.
6 | Total Length of 66/33 kV Feeders (Underground) |  | Kms.
7 | Total Number 11 kV Feeders |  | Nos.
8 | Total Length of 11 kV Feeders (Overhead) |  | Kms.
9 | Total Length of 11 kV Feeders (Underground) |  | Kms.
10 | Total Length of LT Lines (Overhead) |  | Kms.
11 | Total Length of LT Lines (Underground) |  | Kms.
12 | Total Number of Distribution Transformers |  | Nos.
13 | Total Capacity of Distribution Transformers |  | MVA
Key Performance Indicators (Commercial+Operations)
Sl. No. | Particulars | Unit | FY 2016-17 |  | FY 2017-18
1 | Total Consumers | Nos.
2 | Annual Input Energy | MU
3 | Annual Energy Billed | MU
4 | Total Revenue Billed | ₹ Cr.
5 | Total Revenue Realized | ₹ Cr.
6 | Billing Efficiency | % | #DIV/0! |  | #DIV/0!
7 | Collection Efficiency | % | #DIV/0! |  | #DIV/0!
8 | AT&C Losses | % | #DIV/0! |  | #DIV/0!
9 | Average Billing Rate | ₹ / kWh
10 | Annual Consumer Base Growth | %
11 | Peak Demand | MW
12 | DT Failure Rate | %
13 | HT / LT ratio | Nos.
14 | Provisional Billing | %
15 | Defective Meter | %

## Project_Area
Smart Grid Project Area Profile
Basic Information of Project Area
Sl. No. | Particulars |  | Unit | Value
1 | Name of the Project Area |  | Name
2 | Area of Coverage |  | Sq. Kms.
3 | Is Project Area Shortlisted Smart City |  | Yes/No
4 | Is Project Area an R-APDRP (Part-A) IT Town |  | Yes/No
5 | Is Project Area an R-APDRP (Part-A) SCADA / DMS Town |  | Yes/No
6 | Total Population (as per 2011 Census) |  | Nos.
7 | Project Area Nodal Officer Details |  | Name
Desig.
Mobile
E-Mail
Phone
8 | Name of Zone of Project Area |  | Name
9 | Name of Circle of Project Area |  | Name
10 | No. of Division Offices in Project Area |  | Nos.
11 | No. of Sub Division Offices in Project Area |  | Nos.
Asset Information of Project Area
Sl. No. | Particulars |  |  | Unit | Value
1 | Total No. of Sub-stations feeding Project Area |  |  | Nos.
2 | Total Number of Power Transformers |  |  | Nos.
3 | Total Capacity of Power Transformers |  |  | MW
4 | Total Number of 66/33 kV Feeders |  |  | Nos.
5 | Total Length of 66/33 kV Feeders (Overhead) |  |  | Kms.
6 | Total Length of 66/33 kV Feeders (Underground) |  |  | Kms.
7 | Total Number 11 kV Feeders |  |  | Nos.
8 | Total Length of 11 kV Feeders (Overhead) |  |  | Kms.
9 | Total Length of 11 kV Feeders (Underground) |  |  | Kms.
10 | Total Length of LT Lines (Overhead) |  |  | Kms.
11 | Total Length of LT Lines (Underground) |  |  | Kms.
12 | Total Number of Distribution Transformers |  |  | Nos.
13 | Total Capacity of Distribution Transformers |  |  | MVA
Key Performance Indicators (Commercial+Operations) of Project Area
Sl. No. | Particulars |  | Unit | FY 2016-17 |  | FY 2017-18
1 | Total Consumers |  | Nos.
2 | Annual Input Energy |  | MU
3 | Annual Energy Billed |  | MU
4 | Total Revenue Billed |  | ₹ Cr.
5 | Total Revenue Realized |  | ₹ Cr.
6 | Billing Efficiency |  | % | #DIV/0! |  | #DIV/0!
7 | Collection Efficiency |  | % | #DIV/0! |  | #DIV/0!
8 | AT&C Losses |  | % | #DIV/0! |  | #DIV/0!
9 | Technical Losses |  | %
10 | Commercial Losses |  | % | #DIV/0! |  | #DIV/0!
11 | Average Billing Rate |  | ₹ / kWh
12 | Annual Consumer Base Growth |  | %
13 | Peak Demand |  | MW
14 | DT Failure Rate |  | %
15 | HT / LT ratio |  | Nos.
16 | Provisional Billing |  | %
17 | Defective Meter |  | %
Consumer Mix in Project Area
Sl. No. | Particulars | No. of Metering Points |  | Consumption Annually (MU) |  | % of Overall Consumption
1 | Domestic Consumers |  |  |  |  | #DIV/0!
2 | Commercial Consumers |  |  |  |  | #DIV/0!
3 | Industrial Consumers |  |  |  |  | #DIV/0!
4 | Street Lighting |  |  |  |  | #DIV/0!
5 | Agriculture Consumers |  |  |  |  | #DIV/0!
6 | Others/HT Consumers |  |  |  |  | #DIV/0!
7 | Sub-Total | 0 |  | 0 |  | #DIV/0!
Metering Type in Project Area
Sl. No. | Particulars | No. of Metering Points |  | Consumption Annually (MU) |  | % of Overall Consumption
1 | Single Phase Meters |  |  |  |  | #DIV/0!
2 | Three Phase Meters |  |  |  |  | #DIV/0!
3 | LT CT Meters |  |  |  |  | #DIV/0!
4 | HT Meters |  |  |  |  | #DIV/0!
5 | DT Meters |  |  |  |  | #DIV/0!
6 | Feeder Meters |  |  |  |  | #DIV/0!
7 | Sub-Total | 0 |  | 0 |  | #DIV/0!
Investment under Various Central Government Schemes in Project Area
Sl. No. | Particulars | Approved Cost (₹ Cr.) |  | Amount Spent (₹ Cr.) |  | Balance (₹ Cr.)
1 | R-APDRP (Part-A) for IT |  |  |  |  | 0
2 | R-APDRP (Part-A) for SCADA / DMS |  |  |  |  | 0
3 | National Electricity Funds |  |  |  |  | 0
4 | IPDS |  |  |  |  | 0
5 | DDUGGY |  |  |  |  | 0
6 | Sub-Total | 0 |  | 0 |  | 0

## Tech_Stack
Technology Stack
Utility and Project Area Existing Technology Stack
Sl. No. | Particulars | Utility Wise Status |  |  |  | Project Area Status
|  | Present | Scheme | Product | Status | Present | Scheme | Product | Status
1 | Centralized Call Center | Yes / No |  |  |  | Yes / No
2 | New Connection | Yes / No |  |  |  | Yes / No
3 | Disconnection and Dismantling | Yes / No |  |  |  | Yes / No
4 | Metering | Yes / No |  |  |  | Yes / No
5 | Billing | Yes / No |  |  |  | Yes / No
6 | Collection | Yes / No |  |  |  | Yes / No
7 | Asset Management | Yes / No |  |  |  | Yes / No
8 | Maintenance Management | Yes / No |  |  |  | Yes / No
9 | Geographical Information System | Yes / No |  |  |  | Yes / No
10 | Network Analysis Tool | Yes / No |  |  |  | Yes / No
11 | DGPS based Consumer Indexing | Yes / No |  |  |  | Yes / No
12 | DGPS based Asset Mapping | Yes / No |  |  |  | Yes / No
13 | Energy Audit | Yes / No |  |  |  | Yes / No
14 | Meter Data Aquistion System (MDAS / AMR) | Yes / No |  |  |  | Yes / No
15 | Web Self Service | Yes / No |  |  |  | Yes / No
16 | Data Center Establishment | Yes / No |  |  |  | Yes / No
17 | Disaster Recovery Center Establishment | Yes / No |  |  |  | Yes / No
18 | SCADA / DMS | Yes / No |  |  |  | Yes / No
19 | Outage Management System | Yes / No |  |  |  | Yes / No
20 | Advanced Metering Infrastructure | Yes / No |  |  |  | Yes / No
21 | Power Procurement Management | Yes / No |  |  |  | Yes / No
22 | ERP - Finance | Yes / No |  |  |  | Yes / No
23 | ERP - HR | Yes / No |  |  |  | Yes / No
24 | ERP - Inventory Management | Yes / No |  |  |  | Yes / No
25 | Business - Intelligence / Analytics | Yes / No |  |  |  | Yes / No
Proposed Smart Grid Functionalities for the Project Area
Sl. No. | Module |  | Proposed |  | Remarks
1 | Advanced Metering Infrastructure with PQM, PLM and BI |  | Yes / No
2 | SCADA / DMS |  | Yes / No
3 | Outage Management System |  | Yes / No
4 | Geographical Information System |  | Yes / No
5 | Renewable Generation |  | Yes / No
6 | Energy Storage |  | Yes / No
7 | Street Light Automation |  | Yes / No
8 | Electric Vehicle Charging Station |  | Yes / No
9 | Transformer Monitoring Unit |  | Yes / No
10 | Integration with Existing Systems |  | Yes / No

## Cost_Summary
Project Cost Summary
Overall Project Cost (₹)
Sl. No. | Smart Grid Functionality | IT HW | IT SW | Field HW | Network | Spares | PMC | FMS Year 1 | FMS Year 2-5 | Total
1 | Smart Grid Control Center | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0
2 | Advanced Metering Infrastructure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Supervisory Control & Data Acquisition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Geographical Information System | 0 | 0 | 0 | - | - | 0 | 0 | 0 | 0
5 | Outage Management System | 0 | 0 | 0 | - | - | 0 | 0 | 0 | 0
6 | DT Monitoring Units | - | - | 0 | - | - | 0 | 0 | 0 | 0
7 | Electric Vehicle Charging Station | - | 0 | 0 | 0 | - | 0 | 0 | 0 | 0
8 | Solar Power Plants | - | - | 0 | - | - | 0 | 0 | 0 | 0
9 | Street Light Automation | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0
Total Project Cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project Fund Sourcing
Sl. No. | Particulars | [8 empty] | Total
1 | Total Project Cost | [8 empty] | 0
2 | NSGM Funding (Max 30% of Project Cost Excluding Network Backhaul & FMS for 2-5 Years) As Per Approval of EC | [8 empty] | 0
3 | Utility Share | [8 empty] | 0
Note: The data in this sheet are autofilled based on inputs in sheets of SGCC, AMI, SCADA, GIS and Others. Please verify the data for any discrepancies

## SGCC
Cost Estimate - Smart Grid Control Center
IT Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Testing, Development and Quality Servers | Nos. |  |  | 0
2 | Access Contol Servers | Nos. |  |  | 0
3 | Anti Virus Servers/ Unified Threat Management | Nos. |  |  | 0
4 | DNS Servers | Nos. |  |  | 0
5 | LDAP Servers | Nos. |  |  | 0
6 | Web Proxy Servers with Load Balancing | Nos. |  |  | 0
7 | EMS/NMS Server with Operation Console | Nos. |  |  | 0
8 | SAN / External RAID Mass Storage Device | Nos. |  |  | 0
9 | Backup Server | Nos. |  |  | 0
10 | Tape Library / External DAT Drive | Nos. |  |  | 0
11 | IDF / MDF Wall Mount Racks | Nos. |  |  | 0
12 | IDF / MDF Floor Mount Racks | Nos. |  |  | 0
13 | Core Switch | Nos. |  |  | 0
14 | Access Switch | Nos. |  |  | 0
15 | Distribution Switch | Nos. |  |  | 0
16 | Layer II Switch (48 ports) | Nos. |  |  | 0
17 | Layer II Switches (24 ports) | Nos. |  |  | 0
18 | Router for MPLS/ VPN Network | Nos. |  |  | 0
19 | Router for Internet Gateway | Nos. |  |  | 0
20 | Application Load Balancer | Nos. |  |  | 0
21 | Critical Load UPS | Nos. |  |  | 0
22 | Service Load UPS | Nos. |  |  | 0
23 | Workstation (w/ UPS, Table, Chair, OS, Office) | Nos. |  |  | 0
24 | Routers | Nos. |  |  | 0
25 | Network LaserJet (B/W) Printer | Nos. |  |  | 0
26 | A4 Size Inkjet / Bubble Jet printer | Nos. |  |  | 0
27 | A3 Size Inkjet / All in One Color Laser Jet Printer | Nos. |  |  | 0
28 | GPS Time Synchronization System | Nos. |  |  | 0
29 | Work Station with Dual TFT Monitors | Nos. |  |  | 0
30 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for IT Hardware |  |  |  |  | 0
IT Software
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | EMS / NMS System | Nos. |  |  | 0
2 | Antivirus Software/UTM application | Nos. |  |  | 0
3 | Database Software | Nos. |  |  | 0
4 | Operation Systems | Nos. |  |  | 0
5 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for IT Software |  |  |  |  | 0
Network Backhaul
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Primary MPLS - VPN Connectivity | Per Year |  |  | 0
2 | Secondary MPLS - VPN Connectivity | Per Year |  |  | 0
3 | Primary Internet bandwidth | Per Year |  |  | 0
4 | Secondary Internet Bandwidth | Per Year |  |  | 0
5 | Additional Item 1 | Per Year |  |  | 0
Sub-Total for Network Backhaul |  |  |  |  | 0
Spares
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Spares for IT Hardware | - | 5% | 0 | 0
Sub-Total for IT Hardware Spares |  |  |  |  | 0
Services
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | PMC (incl. Installation, Testing, Commissioning, Data Migration and Training Cost) | LS | 15% | 0 | 0
2 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
3 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Sub-Total for Services |  |  |  |  | 0
Total for Smart Grid Control Center |  |  |  |  | 0

## AMI
Cost Estimate - Advanced Metering Infrastructure
IT Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Database Servers for HES & MDM | Nos. |  |  | 0
2 | Application Servers for HES | Nos. |  |  | 0
3 | Application Servers for PQM | Nos. |  |  | 0
4 | Application Servers for PLM | Nos. |  |  | 0
5 | Application Servers for MDM | Nos. |  |  | 0
6 | Application Servers for BI | Nos. |  |  | 0
7 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for IT Hardware |  |  |  |  | 0
IT Software
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | AMI - Head End System | Nos. |  |  | 0
2 | AMI - MDMS/Updation of Existing MDMS | Nos. |  |  | 0
3 | AMI - Business Analytics | Nos. |  |  | 0
4 | AMI-PQM and PLM Softwares | Nos. |  |  | 0
5 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for IT Software |  |  |  |  | 0
Field Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Single Phase Smart Meters (Consumer) | Nos. |  |  | 0
2 | Three Phase Smart Meters (Consumers) | Nos. |  |  | 0
3 | Three Phase LT CT Smart Meters (Consumers) | Nos. |  |  | 0
4 | Three Phase HT Smart Meters (Consumers) | Nos. |  |  | 0
5 | Three Phase LT CT Smart Meters (DTs) | Nos. |  |  | 0
6 | Three Phase HT Smart Meters (Feeders) | Nos. |  |  | 0
7 | Data Concentrator Unit / Field Routers | Nos. |  |  | 0
8 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for Field Hardware |  |  |  |  | 0
Network Backhaul
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Communication Between DCU and HES | Per Year |  |  | 0
2 | Additional Item 1 | Per Year |  |  | 0
Sub-Total for Network Backhaul |  |  |  |  | 0
Spares
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Spares for IT Hardware | - | 5% | 0 | 0
2 | Spares for Field Hardware | - | 5% | 0 | 0
Sub-Total for Hardware Spares |  |  |  |  | 0
Services
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | PMC (incl. Installation, Testing, Commissioning, Data Migration and Training Cost) | LS | 15% | 0 | 0
2 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
3 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Sub-Total for Services |  |  |  |  | 0
Total for AMI |  |  |  |  | 0

## SCADA
Cost Estimate - Supervisory Control And Data Acquisition
IT Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | SCADA Server | Nos. |  |  | 0
2 | ADMS Server | Nos. |  |  | 0
3 | FEP Server with Interface Switches | Nos. |  |  | 0
4 | ISR Server | Nos. |  |  | 0
5 | NMS Server | Nos. |  |  | 0
6 | DTS Server | Nos. |  |  | 0
7 | Development Server | Nos. |  |  | 0
8 | Communication Servers | Nos. |  |  | 0
9 | LED Based Video Projection System with 2x3 Module Configuration with Each Module at Least 70" Diagonal with Common Projector | Nos. |  |  | 0
10 | Workstation with Dual TFT Monitors | Nos. |  |  | 0
11 | Developmental Console with One TFT | Nos. |  |  | 0
12 | DTS/Workstation Console with Dual TFTs | Nos. |  |  | 0
13 | Remote VDUs with One TFT Monitors | Nos. |  |  | 0
14 | Router for SCADA/DMS Interface with IT system | Nos. |  |  | 0
15 | Router at Remote VDU | Nos. |  |  | 0
16 | Web Server with Load Balancing | Nos. |  |  | 0
17 | Additional Item 1 | Nos. |  |  | 0
18 | Additional Item 2 | Nos. |  |  | 0
Sub-Total for IT Hardware |  |  |  |  | 0
IT Software
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | SCADA Software | Nos. |  |  | 0
2 | ADMS Software | Nos. |  |  | 0
3 | ISR Software | Nos. |  |  | 0
4 | DTS Software | Nos. |  |  | 0
5 | ICCP Software | Nos. |  |  | 0
6 | Development Software | Nos. |  |  | 0
7 | Network Management Software | Nos. |  |  | 0
8 | GIS Adaptor/Engine for Importing Data from GIS System under IT System | Nos. |  |  | 0
9 | Master Station cum RTU Simulator & Protocol Analyser Software Tool | Nos. |  |  | 0
10 | RTU DB Config. & Maint. Software Tool | Nos. |  |  | 0
11 | LDMS Software | Nos. |  |  | 0
12 | FRTU DB Config. & Maint. Software Tool | Nos. |  |  | 0
13 | Master Station cum FRTU Simulator & Protocol Analyser Software Tool | Nos. |  |  | 0
14 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for IT Software |  |  |  |  | 0
Field Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | RTU Base Equipment with Accessories | Nos. |  |  | 0
2 | FRTU Base Equipment with Accessories | Nos. |  |  | 0
3 | Replacement of 11 KV VCB/OCB at Grid S/s | Nos. |  |  | 0
4 | Replacement of 66/33 KV OCB/VCB | Nos. |  |  | 0
5 | Replacelemt of Existing C&RP Electro-mechanical Relay with with IEC 61850 BCPU | Nos. |  |  | 0
6 | Replacement of Electromechanical Relay with IEC 61850 BCPU at 66/11 and 33/11 KV S/s | Nos. |  |  | 0
7 | Switch compliant to 61850 | Nos. |  |  | 0
8 | Transformer Monitoring Unit (TMU) on IEC 61850 | Nos. |  |  | 0
9 | Installation of 4 Way RMUs at Various 11 KV S/s for Controlling and Monitoring of 11 KV n/w | Nos. |  |  | 0
10 | Installation of 3 Way RMUs at Various 11 KV S/s for Controlling and Monitoring of 11 KV n/w | Nos. |  |  | 0
11 | 5 Way RMU | Nos. |  |  | 0
12 | 6 Way RMU | Nos. |  |  | 0
13 | Multifunction Transducers | Nos. |  |  | 0
14 | Weather Transducer - Wind Speed | Nos. |  |  | 0
15 | Weather Transducer - Wind Direction | Nos. |  |  | 0
16 | Weather Transducer - Rainfall | Nos. |  |  | 0
17 | Weather Transducer - Humidity | Nos. |  |  | 0
18 | Weather Transducer - Temperature | Nos. |  |  | 0
19 | DC Transducer for Station Analog Parameters | Nos. |  |  | 0
20 | Router | Nos. |  |  | 0
21 | Single TFT PC for LDMS | Nos. |  |  | 0
22 | Heavy Duty Relays for CB Trip/Close | Nos. |  |  | 0
23 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for Field Hardware |  |  |  |  | 0
Network Backhaul
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Network Connectivity Charges for 10 mbps MPLS Broadband Links for SLDC, IT DC, SCADA DR, Control Center to MPLS Cloud | Per Year |  |  | 0
2 | Network Connectivity Charges for Control Center MPLS Broadband Link | Per Year |  |  | 0
3 | Network Connectivity Charges for 3G | Per Year |  |  | 0
4 | 3G/4G Modem | Nos. |  |  | 0
Sub-Total for Network Backhaul |  |  |  |  | 0
Spares
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Spares for IT Hardware | - | 5% | 0 | 0
2 | Spares for Field Hardware | - | 5% | 0 | 0
Sub-Total for Hardware Spares |  |  |  |  | 0
Services
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | PMC (incl. Installation, Testing, Commissioning, Data Migration and Training Cost) | LS | 15% | 0 | 0
2 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
3 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Sub-Total for Services |  |  |  |  | 0
Total for AMI |  |  |  |  | 0

## GIS
Cost Estimate - Geographical Information System
Hardware
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | GIS Database Server | Nos. |  |  | 0
2 | GIS Application Server | Nos. |  |  | 0
3 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for Hardware |  |  |  |  | 0
Software
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | GIS Application | Nos. |  |  | 0
2 | Additional Item 1 | Nos. |  |  | 0
Sub-Total for Software |  |  |  |  | 0
Field Services
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Procurement of Satellite Imagery and Creation of Base Map of Project Area | Nos. |  |  | 0
2 | Technical Audit of Substations | Nos. |  |  | 0
3 | Technical Audit of Distribution Transformers | Nos. |  |  | 0
4 | Locating Co-ordinates (Latitude-Longitude) using DGPS, Collection/Updation of Attribute Database of Following Electrical Network Assets Through Field Survey and Codification & Indexing with Their Upstream Source of Supply:
4.1 | 66/33, 66/11, 33/11 kV substations | Nos. |  |  | 0
4.2 | HT (33, 11 kV) Overhead Lines / Underground Cables Alongwith Associated Line Equipments such as RMUs, DTs, Capacitors etc. | Nos. |  |  | 0
4.3 | LT Overhead Lines and Underground Cables Alongwith Associated Equipment such as Poles, Feeder Pillar Boxes etc. | Nos. |  |  | 0
5 | Collection/Updation of Consumer Attribute Database Through Door-to-Door Field Survey and Codification & Indexing Consumers with Respective Upstream Source of Supply | Nos. |  |  | 0
6 | Preparation of Digitized Electrical Network on Base Map in Pre-defined Scale with Features & Attributes of Assets and Consumers Collected Through DGPS / Door-to-Door Survey | Nos. |  |  | 0
Sub-Total for Field Services |  |  |  |  | 0
Services
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | PMC (incl. Installation, Testing, Commissioning, Data Migration and Training Cost) | LS | 15% | 0 | 0
2 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
3 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Sub-Total for Services |  |  |  |  | 0
Total for GIS |  |  |  |  | 0

## Others
Cost Estimate - Outage Management System, DT Monitoring Units, EV Charging Station, Solar Power Plants, Street Light Automation
Outage Management System
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Database Server for OMS | Nos. |  |  | 0
2 | Application Servers for OMS | Nos. |  |  | 0
3 | Communicable FPIs | Nos. |  |  | 0
4 | Outage Management System Application | Nos. |  |  | 0
5 | Project Management and Consultancy Services | LS | 15% | 0 | 0
6 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
7 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Total for OMS |  |  |  |  | 0
DT Monitoring Units (250 kVA and Above)
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Distribution Transformer Monitoring Units | Nos. |  |  | 0
2 | Project Management and Consultancy Services | LS | 15% | 0 | 0
3 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
4 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Total for DT Monitoring Units |  |  |  |  | 0
EV Charging Stations
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | EV Charging Stations (Fast Charger) | Nos. |  |  | 0
2 | Payment Terminals | Nos. |  |  | 0
3 | Web Solution for Monitoring Charging Systems | Nos. |  |  | 0
4 | Network Backhaul for Data Connectivity | Per Year |  |  | 0
5 | Project Management and Consultancy Services | LS | 15% | 0 | 0
6 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
7 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Total for EV Charging Stations |  |  |  |  | 0
Solar Power Plants
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | Power Plants (1 MW) Estb. with accessories | Nos. |  |  | 0
2 | Power Plants (5 MW) Estb. with Accessories | Nos. |  |  | 0
3 | Power Plants (10 MW) Estb. with Accessories | Nos. |  |  | 0
4 | Smart Meters with Net Metering Provision | Nos. |  |  | 0
5 | Project Management and Consultancy Services | LS | 15% | 0 | 0
6 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
7 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Total for Solar Power Plants |  |  |  |  | 0
Street Light Automation
Sl. No. | Partiuclars | Unit | Rate | Qty | Amount
1 | CCMS Server | Nos. |  |  | 0
2 | CCMS Application | Nos. |  |  | 0
3 | CCMS Mobile Application | Nos. |  |  | 0
4 | CCMS Switches | Nos. |  |  | 0
5 | LED Lights (16 Watts) with Accessories | Nos. |  |  | 0
6 | LED Lights (30 Watts) with Accessories | Nos. |  |  | 0
7 | LED Lights (40 Watts) with Accessories | Nos. |  |  | 0
8 | LED Lights (60 Watts) with Accessories | Nos. |  |  | 0
9 | LED Lights (120 Watts) with Accessories | Nos. |  |  | 0
10 | LED Lights (240 Watts) with Accessories | Nos. |  |  | 0
11 | Replacement of Damaged Poles | Nos. |  |  | 0
12 | Network Backhaul for Data Connectivity | Per Year |  |  | 0
13 | Project Management and Consultancy Services | LS | 15% | 0 | 0
14 | Facility Management Services (Y1) | Per Year | 7% | 0 | 0
15 | Facility Management Services (Y2-Y5) | Per Year | 7% | 0 | 0
Total for Street Light Automation |  |  |  |  | 0
Total for Other Functionalities |  |  |  |  | 0

## KPI
Key Performance Indicators
Sl. No. | Smart Grid Attributes | Key Performance Indicators | Present Value | Target Value | Support Docs
1 | Advanced Metering Infrastructure | Reduction in AT&C Loss %
2 |  | Manual Connection/Disconnection for Defaulter Consumers
3 |  | Reduction in Number of Meter Readers / Meter Reading Cost
4 | Peak Load Management | Increase in Ratio of Energy Consumption to Peak Load (MU/MW)
5 |  | Reduction in Short Term / Peak Power Purchase Cost
6 |  | Load Factor of DTs
7 | Power Quality Management | THD (Current)
8 |  | Average Power Factor
9 |  | DT Voltage Not in Permissible Limit in a Month
10 | Outage Management | Maintenance Practice
11 |  | Reduction in DT Failure Rate
12 |  | SAIDI/SAIFI/CAIDI/CAIFI Improvements
13 | Street Light Automation | System Uptime
14 |  | Reduction in Energy Consumption

## CBA_Assumptions
Cost Benefit Analysis Base Assumptions
Expected Demand Growth
Sl. No. | Partiuclars | Unit | Value
1 | Growth in Meters (For The First Three Years) | %
2 | Growth in Meters (From The Fourth Year) | %
3 | Growth in Energy Consumption / Meter | %
4 | Expenses Escalation | % / Year
5 | Escalation in Energy Cost | % / Year
6 | Average Cost of Meter Reading (Monthly) | ₹ / Meter
7 | R&M Expenses (For Existing Infrastructure) | ₹ Cr.
8 | Employee Expenses (For Existing Infrastructure) | ₹ Cr.
Power Purchase Costs
Sl. No. | Partiuclars | Unit | Value
1 | Average Procurement Rate of Power | ₹ / kWh
2 | Short Term Procurement of Power | ₹ / kWh
Existing Infrastructure
Sl. No. | Partiuclars | Unit | Value
1 | GFA | ₹ Cr.
2 | Plant and Machinery | ₹ Cr.
3 | Lines, Cables and Network | ₹ Cr.
4 | Others | ₹ Cr. | 0
5 | Less: Total Capitalized Expenses | ₹ Cr.
6 | Net GFA | ₹ Cr. | 0
7 | Net GFA | ₹ / Meter | #DIV/0!
AMI Impact
Sl. No. | Partiuclars | Unit | Value
1 | Reduction of Metering | %
2 | Improvement in Employee Productivity (Rest of the Organization) | %
3 | Reduction of DT and Line Failures | %
4 | Average Receivables Days Reduced to | Days
5 | Asset Throughput Improvement | %
6 | AT&C Loss - Current | % | 0%
7 | AT&C Loss - Target | % | 0%
8 | Reduction of Peak Load (Assumption) | %
9 | Peak Hour Consumption / Average Hourly Consumption | Times
10 | Peak Hours (in a Day) | Hours
11 | Average Receivables Days (Current) | Days
Capital Structure (Financing)
Sl. No. | Partiuclars | Unit | Value
1 | Debt as a % of Total Capital Cost | %
2 | Equity as a % of Total Capital Cost | %
3 | Cost of Debt | %
4 | Tenure of Debt | Years
5 | Equity Cost | %
6 | Tax Rate | %
Note: Tax rate to be re-calculated at the time of DPR preparation
Infrastructure Value
Sl. No. | Partiuclars | Unit | Value
1 | Total IT & Field HW Cost | ₹ Cr.
2 | Total IT Software | ₹ Cr.
3 | Total Spares | ₹ Cr.
4 | Total Asset Cost | ₹ Cr.
5 | PMC Charges | ₹ Cr. | 0
6 | PMC Charges as % of Asset Cost | % | 15%
7 | Facility Management Service (Y1) | ₹ Cr. | 0
8 | Facility Management Service (Y1) as % of Asset Cost | % | 7%
9 | Total Project Cost Including 5 Years FMS | ₹ Cr. | 0
10 | Years of Operation | Years | 7
Note: Certain cell values are auto calculated. Please verify for discrepancies

## CBA_Calculation
Cost Benefit Analysis Calculations
Projection Period (Year of Operation)
Sl. No. | Particulars | Unit | Base Yr | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7
a | Number of Meters | Nos. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b | Growth for First Two Years | % | 0%
c | Subsequent Years Growth | % | 0%
d | Incremental AMI Infra Cost | ₹ |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
e | Energy Consumed per Meter per Year | kWh/Unit/Yr | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
f | Annual Growth in Consumption / Meter | % | 0%
g | Total Billed Power | Million kWh | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
h | Annual Growth in Consumption | % |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
i | Consumption Index | Index | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
j | Total Amount Billed | ₹ Cr. / Year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
k | Total Billed Power | MU / Year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
l | Expected Avg Rate of Energy (Fixed+Variable) | ₹ / kWh | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
m | Annual Escalation in Energy Cost | % | 0%
n | Short Term Power Purchase Tariff | ₹ / kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
o | Cost of Procured Power | ₹ / kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
p | Savings Due to Avoiding Short Term Power Purchase | ₹ / kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
q | Annual Escalation | % | 0%
r | Meter Reading Cost Saved per Meter / Month | ₹ / Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s | R&M Expenses (for Existing Infrastructure) | ₹ Cr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
t | Employee Costs (for Existing Infrastructure) | ₹ Cr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Projection Period (Year of Operation)
Sl. No. | Performance Metrics | Unit | Base Yr | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7
1 | T&C Losses | % | #DIV/0! | #DIV/0! | 0% | 0% | 0% | 0% | 0% | 0%
| Total Billed Energy | MU / Year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Total Purchased Energy | MU / Year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Average Load | MW | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Peak Load | MW | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2 | Peak Load / Average Load Ratio |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Planned Reduction in Ratio | % | 0%
3 | Power Consumed During Peak Hours | MU / Year | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Peak Hours (in a Day) | Hours | 0
| Peak Hour / Average Hourly Consumption | Times | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Planned Reduction in Ratio | % | 0%
| Peak Power Consumed to Billed Power Ratio | % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 | Receivable Days | Days | 0 | 15 | 30 | 30 | 30 | 30 | 30 | 30
5 | Improved Asset Utilization (DT, Lines, etc) |  | 1 | bar: Projection Period (Year of Operation) Year 1 to Projection Period (Year of Operation) Year 7
6 | Metering Cost Reduction | % | 0% | bar: Projection Period (Year of Operation) Year 1 to Projection Period (Year of Operation) Year 7
7 | R&M Cost Reduction (Due to Reduction in Failure in DT and Lines) | % | 0% | bar: Projection Period (Year of Operation) Year 1 to Projection Period (Year of Operation) Year 7
8 | Increase in Employee Productivity | Times | 1 | bar: Projection Period (Year of Operation) Year 1 to Projection Period (Year of Operation) Year 7

## CBA_Conclusion
Cost Benefit Analysis Conclusion
Types of Savings |  | Details
Category 1 |  | Direct, with Managerial Oversight and Process Changes
Category 2 |  | Those Which Will Require Some Investments in Asset Upgradation
Category 3 |  | Productivity Related
Projection Period (Year of Operation)
Sl. No. | Particulars |  | Unit | Base Yr | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7
Category 1 Savings
1 | Meter Reading Cost Savings |  | ₹ Cr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Peak Load Reduction savings |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3 | AT&C Loss Reduction |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 | Total Recurring Savings |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5 | Recuring Savings Post Tax |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
6 | Float Reduction Yr to Yr Change v/s Baseline |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Category 1 Savings Cash Flow |  |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Category 2 Savings
7 | R&M Cost Reduction |  | ₹ Cr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Recurring Saings Post Tax |  | ₹ Cr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Category 2 Savings Cash Flow |  |  | ₹ Cr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Category 3 Savings
9 | Saved Investments in Distribution Infra |  | ₹ Cr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Category 3 Savings Cash Flow |  |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Additional Investments
10 | AMI, IT and Backend |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11 | Upgradation / Balancing Investments |  | ₹ Cr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Additional Investments |  |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12 | New GFA |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13 | Tax Savings Due to Depr. of Addl. Assets |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14 | Net Cash Flow |  | ₹ Cr. | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Internal Rate of Return (IRR) |  |  | % | #VALUE!